#### 8.5 FIRE SAFETY AND EMERGENCY EVACUATION

Written by: Claire Toms and Tina Alder                                                                          Date: 1.09.22 – reviewed 29.8.25

Policy statement

We ensure our premises present no risk of fire by maintaining the highest possible standard of fire precautions, in line with EYFS 2025 and Hertfordshire County Council fire safety requirements. The person in charge and our staff are familiar with the current legal requirements. Where necessary we seek the advice of a competent person, such as our Fire Officer or Fire Safety Consultant.

### Procedures

Fire safety precautions taken
• We ensure that fire doors are clearly marked, never obstructed, and easily opened from the inside.

• We ensure that smoke detectors/alarms and firefighting appliances conform to BS EN standards, are fitted in appropriate high-risk areas of the building, and are checked as specified by the manufacturer.

• We check all electrical equipment. Any faulty electrical equipment is taken out of use and either repaired or replaced.

• Our emergency evacuation procedures are:

- clearly displayed in the premises.

- explained to new members of staff, volunteers, and parents.

- practised at least once every half term (six times per year) in line with Hertfordshire guidance.

- inclusive of all children, including those with SEND, with personalised support plans if required.

• Records are kept of fire drills and of the servicing of fire safety equipment (which is organised and maintained by the landlord).

• A nominated Fire Safety Lead (Tina Alder) ensures staff training is kept up to date and that all new staff complete fire safety induction, including use of fire extinguishers and evacuation roles.

### Fire drills

We hold fire drills at least once every half term and record the following information about each fire drill in the Fire Safety Log:
• The date and time of the drill.
• Number of adults and children involved.
• How long it took to evacuate.
• Whether there were any problems that delayed evacuation.
• Any further action taken to improve the drill procedure.
• How the needs of babies and children with SEND were met during the evacuation.